Pre-Application Report Request

Persons interested in finding out the additional information regarding the interconnection of a distributed energy resource to the Utility’s distribution system are to fill out this Pre-Application Report Request.  The pre-application report request is to be filled out as completely as possible by the applicant.  The Utility will provide the applicant with a Pre-Application Report within 15 business days once the completed Pre-Application Report Request and a $300 fee is submitted to the Utility.

| Distributed Energy Resource Information |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project Address: |  |  |  |  |
| City: |  | State: |  | Zip Code: |
| GPS Coordinates: | Nearby Cross Streets: |  |  |  |
| Location of the Proposed Point of Common Coupling (e.g. meter number or pole number): |  |  |  |  |
| DER Type (Check all that apply):  Solar Photovoltaic  Wind  Battery Storage  Combined Heat and Power  Solar Thermal  Other (please specify) |  |  |  |  |
| Total Aggregate Nameplate Rating of Proposed DER System (kW AC): |  |  |  |  |
| Phase Configuration of Proposed DER System |  |  |  Single  Three |  |
| Service Voltage of Proposed DER System |  |  | Volts |  |
| Will this be a stand-alone generator not interconnected to onsite load (not including station service)? |  |  |  Yes  No |  |

Please attach copy of site map for proposed project and any additional information that may be helpful in fulfilling the pre-application request. Site map should include true north, proposed project location including general layout, proposed service point location and major roadways.

| For Office Use Only |  |  |  |
| --- | --- | --- | --- |
| Date Received: | Application Fee Received:  Yes  No |  |  |
| Date Completed Pre-Application Report Sent to Applicant: |  |  |  |
| Point of Interconnection – Additional Information |  |  |  |
| Is the proposed interconnection to an existing service? (If no, applicant is to skip to the next section.) |  |  |  Yes  No |
| Customer Name: |  | Customer Account Number: |  |
| Existing loads at site (kW AC): |  |  |  |
| List future additional loads planned for at site (in kW AC): |  |  |  |

| Project Contact Information |  |  |
| --- | --- | --- |
| Full Name: |  |  |
| Name of Business: |  |  |
| Street Address: |  |  |
| City: | State: | Zip Code: |
| Email: | Phone: |  |

Payment and Agreement

There is a non-refundable $300 fee for the construction of a pre-application report. By signing this document, I acknowledge and understand that: - Neither review of this application nor construction of any report shall begin until the full amount of the fee has been paid to Minnesota Valley Cooperative Light and Power Association. - The Utility shall provide a report with only the available information on the proposed point of interconnection. - The information provided by the Utility may become outdated and not useful at the time of submission of a complete Interconnection Application. - Upon receipt of the report no guarantee is made by the Utility that a future Interconnection Application will be approved for this proposed site. ___________________________________________ ________________________ Applicant Signature: Date:

***Please print clearly or type and return completed along with any additional documentation***